## Slide 1: Exploring Solar Energy

## Slide 2: Radiant Energy
Nuclear Fusion

## Slide 3: Major Uses of Solar Energy
Daylight
Drying Agricultural Products
Space Heating
Water Heating
Generating Electrical Power
  Concentrating Solar Power (CSP)
  Photovoltaics

## Slide 5: Drying Agricultural Products
Source: Thermal Science, 2014

## Slide 6: Space Heating Through Passive Solar

## Slide 7: Active Solar Heating

## Slide 8: Solar Collector
Glass on outside
Absorbent on inside
Circulating Fluid
© 2019 GreenSpec

## Slide 9: Generating Electrical Power
Concentrating Solar Power (CSP)
  Trough systems
  Power towers
Heat exchanger plus steam turbine
Photovoltaics
  Small-scale (buildings) kW production
  Large-scale (utilities) MW production
Photoelectric effect

## Slide 10: Concentrating Solar Power (CSP)

## Slide 11: Ivanpah, Mojave Desert
The United States houses the largest CSP plant in the Mojave Desert.
Ivanpah is operated by NRG. It uses 347,000 garage door-sized mirrors and 173,500 heliostats.

## Slide 12: Photovoltaics

## Slide 13: PV Cell

## Slide 14: PV Array Components
PV Cells
Modules
Arrays

## Slide 15: PV System Components

## Slide 16: Remote PV Power

## Slide 17: Top Countries for Installed PV Capacity
US Department of Energy, NREL 2016 Renewable Energy Data Book

## Slide 18: Global Regional PV Installations per Inhabitant
Source: European Photovoltaic Industry Association

## Slide 19: Advantages of Solar Energy
Clean
Sustainable
Free
Provide electricity to remote places

## Slide 20: Disadvantages of Solar Energy
Less efficient and costly equipment
Part Time
Reliability Depends On Location
Environmental Impact of PV Cell Production

## Slide 21: Using a Digital Multimeter
Indicates voltage from alternating current. Do not use.
DC Current Scale
DC Voltage Scale
Resistance Scale. Do not use.

## Slide 22: Wiring the PV Modules
Series
Parallel

## Slide 23: For More Information
The NEED Project
www.need.org
info@need.org
1-800-875-5029
Energy Information Administration
U.S. Department of Energy
www.eia.gov